## Descriptive_Master
Q_ID | Question | Type | option1 | option2 | option3 | option4 | Teacher_Answer | Max_Score | Concept_Names | Concept_Keywords
Q1 | What is function of boiler drum? | mcq | Steam generator | Water separator | Heat exchanger | Power source | B | 1 | boiler_drum | drum,boiler,separate,steam,water
Q2 | Explain steam turbine function | descriptive |  |  |  |  | Steam turbine drives generator to produce electricity | 10 | steam_turbine,generator | steam,turbine,blades,rotate;generator,shaft,electricity,power
Q3 | What is economiser purpose? | descriptive |  |  |  |  | Economiser preheats feedwater using flue gas heat | 8 | economiser,feedwater | economiser,preheat,flue,gas;feedwater,boiler,inlet,temperature
Q4 | Superheater function? | descriptive |  |  |  |  | Superheater raises steam temperature above saturation | 10 | superheater,saturation | superheater,steam,heat,furnace;saturation,dry,enthalpy,efficiency
Q5 | Turbine converts energy: | mcq | Thermal→thermal | Thermal→mechanical | Mechanical→electrical | Chemical→electrical | C | 1 | turbine,energy_conversion | turbine,convert,mechanical,electrical;energy,thermal,mechanical
Q6 | Boiler drum separates: | mcq | Steam from air | Steam from water | Water from steam | Air from water | B | 1 | drum,steam_separation | drum,separate,cylinder,boiler;steam,saturated,vapor,water